# Routine and preventive maintenance checklist

## Sample annual calendar for [year]

| GROUNDS See Note (1) | FREQUENCY See Note (2) | PROCEDURES Inspection/Maintenance | DATE See Note (3) | WORK ORDER See Note (4) | WHO IS DOING IT? |
| --- | --- | --- | --- | --- | --- |
| Playground Equipment | Annually | Inspect for loose, cracked parts, sharp edges, rot & fall protection. |  |  |  |
| Planting | Annually | Inspect for plant and tree growth against building. |  |  |  |
| Concrete Patios & Retaining Walls | Annually | Inspect for cracks, shifting, water damage and drainage. |  |  |  |
| Sidewalks & Driveways | Semi Annually | Inspect for cracks and trip hazards. |  |  |  |
| BUILDING EXTERIOR See Note (5) | FREQUENCY | PROCEDURES Inspection/Maintenance | DATE | WORK ORDER | WHO IS DOING IT? |
| Crawlspaces, concrete Foundations | Annually | Inspect for dampness, vermin, inspect beams and posts for rot. Inspect foundations for cracks, shifting, and water damage. |  |  |  |
| Masonry Veneer | Annually | Inspect for efflorescence (white powder), inspect sealants. |  |  |  |
| Porches and Balconies | Annually | Clean and inspect for cracks, rot, trip hazards, secure railings & steps. |  |  |  |
| Wood Siding, Fascia & Trim | Annually | Inspect for cracks, water damage, deteriorated finishes and vermin. |  |  |  |
| Gutter Cleaning |  | Full cleaning of interior of gutters and exterior if required. |  |  |  |
| Gutter Repair |  | Spot cleaning of the gutters and repair of the damaged sections of the gutters and downpipes. |  |  |  |
| Attic Ventilation | Annually | Inspect for obstructions, rot, vermin. |  |  |  |
| Vinyl Decks | Annually | Check for lifting, water damage, damaged flashing. |  |  |  |
| Concealed Waterproofing (parkade) | Annually | Check underside of slabs for evidence of leaks. Pressure Clean annually |  |  |  |
| Stucco | Annually | Check for signs of water leakage, mold, mildew and staining, cracks, caulking |  |  |  |
| Roof Shingles | Annually | Check for curled or missing shingles, excessive moss, damaged flashing, clean gutters. |  |  |  |
| Vinyl Siding | Annually | Inspect for damaged siding and water damage. |  |  |  |
| Steel Siding | Annually | Inspect for water damage and damaged sheets. |  |  |  |
| BUILDING EXTERIOR See Note (5) | FREQUENCY | PROCEDURES Inspection/Maintenance | DATE | WORK ORDER | WHO IS DOING IT? |
| Flat Roofs | Monthly | Inspect for ponding and plugged drains. |  |  |  |
| Flat Roofs | Annually | Inspect loose flashing, air pockets, blisters & debris. |  |  |  |
| Roof Hatch | Annually | Inspect for forced entry, hardware operation, leaks and weather stripping. |  |  |  |
| Metal Doors and Frames | Annually | Inspect for forced entry, correct hardware operation, weather stripping and sealants. Thresholds, warping |  |  |  |
| Wood Doors and Frames | Annually | Inspect for forced entry, correct hardware operation, weather stripping and sealants. |  |  |  |
| Automatic Door Openers | Annually | Inspect for damage, forced entry, wear, and test all safety features. |  |  |  |
| Overhead Parkade Doors | Semi-annually | Inspect for proper operation and damage to components, test safety features. |  |  |  |
| Aluminum Entrances and Storefront | Semi-annually | Inspect for forced entry, hardware operation, and closer adjustment. |  |  |  |
| Windows and Doors | Annually | Inspect for leaks, hardware operation & sealing. |  |  |  |
| Hose Bibs | Semi-annually | Inspect for damage and winterize in advance of freezing temperatures. |  |  |  |
| Outdoor Outlets | Semi-annually | Test ground fault plugs. |  |  |  |
| Dryer Vents | Monthly | Clean bird screens monthly and vents as required. |  |  |  |
| Floor and Trench Drains | Annually | Clean out drains and trenches. |  |  |  |
| Chimneys | Annually | Clean and check for cracks, loose bricks, leaks or damage. Include fireplaces and wood stoves. |  |  |  |
| BUILDING INTERIOR & SERVICES See Note (6) | FREQUENCY | PROCEDURES Inspection/Maintenance | DATE | WORK ORDER | WHO IS DOING IT? |
| Door Handles, Hinges and Closures | Semi-annually | Check hardware for proper function, check and test fire exit hardware. |  |  |  |
| Residential Appliances | Annually | Check fridge seals and drain tubes. Check stove burners and wires for electrical shorting or grease build up. Check hood fans for filters, venting, grease build up and fire hazards. |  |  |  |
| Walls and Ceilings | Annually | Inspect for mold, water damage, holes, cracking, and paint and humidity levels. |  |  |  |
| Bathroom Fans | Annually | Inspect fans, clean motor and lubricate bearings |  |  |  |
| BUILDING INTERIOR & SERVICES See note (#6) | FREQUENCY | PROCEDURES Inspection/Maintenance | DATE | WORK ORDER | WHO IS DOING IT? |
| Elevators | Monthly (subject to licensing requirements) | Have an elevator contractor service and maintain the elevator equipment. |  |  |  |
| Boiler – Large Building | Monthly | Visual Inspection |  |  |  |
| Boiler – Large Building | Quarterly | Preventative maintenance servicing, including visual inspection, all operational testing of controls and safety switches Adjust for seasonal temperatures. |  |  |  |
| Boiler – Large and Small Buildings | Annually | Complete teardown (strip and clean boilers) |  |  |  |
| Boiler/Furnace – Small Building | Annually | Service annually, change filter 3 to 4 times per year. Adjust for seasonal temps. |  |  |  |
| Air Conditioning | Annually | Inspect for damage, icing, noise & leaks. Clean condenser. |  |  |  |
| Ductwork | Annually | Clean and inspect for rust or damage. |  |  |  |
| Gas Piping | Annually | Inspect for leaks and clearance between gas fired fixtures and combustibles. |  |  |  |
| Hot Water Tank | Annually | Open drain; inspect pressure reducer valve-leaks. |  |  |  |
| Electrical Panel and wiring | Monthly | Inspect for loose, frayed, exposed or overloaded wires/plugs. Test ground fault plugs monthly. |  |  |  |
| Electrical Radiant Heater | Annually | Inspect for damage. |  |  |  |
| Fire Alarm Sys, Extinguishers, Hoses, Sprinklers, Heat & Smoke Detectors | Daily/ Weekly/ Monthly/ Annually | Inspect annually using a qualified inspection firm. Have staff conduct daily, weekly and monthly checks from Fire Safety Plan. |  |  |  |
| Emergency Generators | Weekly/ Semi-annually | Run emergency generators once per week for 20 mins. and have inspected by a qualified firm every 6 months. Maintain fuel supply. |  |  |  |
| Storm Drains/ Catch Basins | Annually | Pump out the debris |  |  |  |
| Sanitary Sewer Lines | Tri–Annually | Cleaning of the sanitary sewer lines as well as the vertical and horizontal (if applicable) plumbing stacks. |  |  |  |

### NOTES:

Includes site improvements outside the building envelope.

The recommended maintenance or inspection interval.

The date you complete the inspection and/or maintenance procedures.

The reference section found in the Design and Construction Standards and the building operating and maintenance manual submitted by the contractor.  Review the manual to determine if product is still covered under warranty.

Includes foundation walls, roofs, windows and doors.

Includes building services and interior finishes.

Effective date: [insert date]